## Uploading_File_Generation
Date | WTG | Wind_Speed | kWh | Gen_Hrs | Lull_Hrs | Grid_Hrs
2022-12-05 | M24 | 9.3329 | 32106 | 23.4 | 0.4 | 23.8
2022-12-05 | M32 | 9.4354 | 32861 | 23.2 | 0.6 | 23.8
2022-12-05 | VL333 | 7.2343 | 18281 | 18.4 | 5.4 | 23.8
2022-12-05 | VL20 | 7.1434 | 18739 | 19 | 4.8 | 23.8
2022-12-05 | KDE5 | 7.8688 | 22638 | 23.3 | 0.7 | 24
2022-12-05 | KDE50 | 7.4264 | 19424 | 23 | 1 | 24
2022-12-05 | KDE72 | 7.8924 | 22638 | 23.1 | 0.9 | 24
2022-12-05 | KDE73 | 7.7354 | 20714 | 22.6 | 1.4 | 24

## Uploading_File_Breakdown
Date | WTG | BD_Type | Stop From | Stop To | Error description | Action Taken
2022-12-08 | VL333 | IGBD | 12:40 | 12:52 | INTL_Line Breakdown due to E/F | feeder was manually closed
2022-12-08 | VL20 | IGBD | 12:00 | 12:12 | INTL_Line Breakdown due to E/F | Earth Fault tripped at ss,So fault current checked and manually charged by ss.
2022-12-06 | M24 | EGBD | 3:00 | 3:12 | EHV system (substation / Upstream Line) failure | Switching operation work was done
2022-12-06 | M32 | EGBD | 3:00 | 3:12 | EHV system (substation / Upstream Line) failure | feeder was manually closed
2022-12-06 | VL333 | EGBD | 3:00 | 3:12 | INTL_Line Breakdown due to E/F | Earth Fault tripped at ss,So fault current checked and manually charged by ss.
2022-12-06 | VL20 | EGBD | 3:00 | 3:12 | INTL_Line Breakdown due to E/F | Switching operation work was done
2022-12-06 | M24 | EGBD | 3:00 | 3:12 | INTL_Line Breakdown due to E/F | feeder was manually closed
2022-12-06 | M32 | EGBD | 3:00 | 3:12 | INTL_Line Breakdown due to E/F | Earth Fault tripped at ss,So fault current checked and manually charged by ss.
2022-12-06 | VL333 | EGBD | 3:00 | 3:12 | EHV system (substation / Upstream Line) failure | Switching operation work was done
2022-12-06 | VL20 | EGBD | 3:00 | 3:12 | EHV system (substation / Upstream Line) failure | feeder was manually closed
2022-12-05 | M24 | EGBD | 3:00 | 3:12 | INTL_Line Breakdown due to E/F | Earth Fault tripped at ss,So fault current checked and manually charged by ss.
2022-12-05 | M32 | EGBD | 3:00 | 3:12 | INTL_Line Breakdown due to E/F | Switching operation work was done
2022-12-05 | VL333 | EGBD | 3:00 | 3:12 | EHV system (substation / Upstream Line) failure | feeder was manually closed
2022-12-05 | VL20 | EGBD | 3:00 | 3:12 | EHV system (substation / Upstream Line) failure | Earth Fault tripped at ss,So fault current checked and manually charged by ss.
2022-12-05 | M24 | EGBD | 3:00 | 3:12 | INTL_Line Breakdown due to E/F | Switching operation work was done
2022-12-05 | M32 | EGBD | 3:00 | 3:12 | INTL_Line Breakdown due to E/F | feeder was manually closed
2022-12-05 | VL333 | EGBD | 3:00 | 3:12 | EHV system (substation / Upstream Line) failure | Earth Fault tripped at ss,So fault current checked and manually charged by ss.
2022-12-05 | VL20 | EGBD | 3:00 | 3:12 | EHV system (substation / Upstream Line) failure | Switching operation work was done
2022-12-05 | M24 | EGBD | 3:00 | 3:12 | INTL_Line Breakdown due to E/F | feeder was manually closed
2022-12-05 | M32 | EGBD | 3:00 | 3:12 | INTL_Line Breakdown due to E/F | Earth Fault tripped at ss,So fault current checked and manually charged by ss.
2022-12-05 | M32 | EGBD | 3:00 | 3:12 | EHV system (substation / Upstream Line) failure | Switching operation work was done

## Daily_Gen_Summary (hidden)
State | Site | Date | LocationName | WindSpeed | KWH | Feeder | MA_Contractual | MA_Actual | IGA | EGA | PLF | Grid Hrs | Oper Hrs | PROD Hrs | Unschedule Hrs | Schedule Hrs | Others | IGBDH | EGBDH | Load Shedding.
MP | Badnawar | 2021-10-24 | BD-01 | 4.0692 | 3979 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 20.18 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-02 | 3.9841 | 1900 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 17.17 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-03 | 4.0564 | 0 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 0 | 0 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-04 | 3.9047 | 0 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 0 | 0 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-05 | 3.8737 | 0 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 0 | 0 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-06 | 3.9592 | 3010 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 17.1 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-07 | 3.7665 | 2642 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 18.8 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-08 | 3.9561 | 3096 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 20.43 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-09 | 3.8591 | 4088 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 20 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-10 | 3.707 | 3208 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 20 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-11 | 3.6298 | 1730 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 16 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-12 | 3.6769 | 2040 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 20.15 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-13 | 3.6682 | 1612 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 19.5 | 17.43 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-14 | 3.7275 | 2945 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 17.73 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-15 | 3.2429 | 2978 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 19.97 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-16 | 3.6732 | 4759 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 21.05 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-17 | 3.5919 | 3622 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 20.53 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-18 | 3.7802 | 6030 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 19.85 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-19 | 3.8107 | 5355 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 20.52 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-20 | 3.6951 | 5849 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 20.42 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-21 | 3.8054 | 4966 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 21.12 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-22 | 3.9521 | 5790 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 20.53 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-23 | 3.7719 | 4159 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 20.23 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-24 | 3.5152 | 8281 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 21.05 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-25 | 3.7391 | 3584 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 19.95 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-26 | 3.8034 | 0 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 0 | 0 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-27 | 3.8746 | 1100 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 6 | 5.5 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-28 | 3.373 | 4837 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 20.82 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-29 | 3.5998 | 3736 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.08 | 19.47 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-30 | 3.5566 | 3421 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 20.45 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-31 | 3.6593 | 1906 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 17.57 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-32 | 3.2601 | 2926 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 17 | 13.4 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-33 | 3.5801 | 3106 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 19.12 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-34 | 3.6034 | 1920 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 16.85 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-35 | 3.7104 | 3921 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 19.25 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-36 | 3.6972 | 3468 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 20.97 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-37 | 3.7039 | 4229 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 20.3 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-38 | 3.6445 | 3033 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 21.12 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-39 | 3.5826 | 0 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 0 | 0 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-40 | 3.6661 | 3391 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 21.37 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-41 | 3.5513 | 3003 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 19.63 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-42 | 3.5435 | 0 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 0 | 0 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-43 | 3.4563 | 1154 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 16.33 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-44 | 3.6582 | 2668 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 20.38 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-45 | 3.7074 | 3741 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 18.9 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-46 | 3.5975 | 4053 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 17.72 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-47 | 3.6088 | 3942 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 16.43 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-48 | 3.9128 | 1672 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 23.75 | 23.75 | 16.2 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-49 | 3.9651 | 5692 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 23.87 | 18.71 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
MP | Badnawar | 2021-10-24 | BD-50 | 3.6754 | 5781 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 18.52 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | GBR101 | 3.5566 | 6671 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 19.29 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | GBR102 | 3.6593 | 6053 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 20.86 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | GK42 | 3.2601 | 5514 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 18.31 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | GK43 | 3.5801 | 5239 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 17.86 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | GK44 | 3.6034 | 4785 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 19.2 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | GK45 | 3.7104 | 6408 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 20.48 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | GK46 | 3.6972 | 5676 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 23.48 | 19.12 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | GK47 | 3.7039 | 6535 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 20.44 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | GK48 | 3.6445 | 5379 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 23.67 | 19.53 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | GK51 | 3.5826 | 5847 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 23.74 | 19.85 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | GK60 | 3.6661 | 6874 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 21.96 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | GK65 | 3.5513 | 7739 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 20.33 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | GK72 | 3.5435 | 7620 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 20.96 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | GK77 | 3.4563 | 6438 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 17.29 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | GK94 | 3.6582 | 6912 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 19.3 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | NEW01N6 | 3.7074 | 7041 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 18.8 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | NL15 | 3.5975 | 906 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 18.2 | 3.8 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | NL16 | 3.6088 | 7270 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 23.87 | 19.8 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | NL20 | 3.9128 | 7686 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 23.02 | 20.16 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | NL34 | 3.9651 | 5748 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 20.52 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | NL35 | 3.6754 | 5273 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 16.59 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | NL38 | 3.6445 | 6818 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 23.87 | 18 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | NL39 | 3.5826 | 6202 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 16.88 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | NL41 | 3.6661 | 5821 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 18.61 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table
KA | Bhabaleshwar | 2021-10-24 | NL42 | 3.5513 | 5114 |  | Calculated field | Calculated field | Calculated field | Calculated field | Calculated field | 24 | 24 | 20.01 | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table | Refer. From breakdown table

## Daily_Bd_Data (hidden)
Date | Site | LocationName | Feeder | Stop Due To | Stop From | Stop To | Total Stop time | Error Description | Action Taken
2021-10-24 | Badnawar | BD-04 | 4 | Unschedule Maintenance | 14:25 | 14:52 | 0:27 |  | Preventive maintenance done. WTG restored.
2021-10-24 | Badnawar | BD-05 | 4 | Unschedule Maintenance | 15:48 | 15:52 | 0:04 |  | WTG restored.
2021-10-24 | Badnawar | BD-06 | 4 | Schedule Maintenance | 11:19 | 15:46 | 4:27 |  | WTG reset.
2021-10-24 | Badnawar | BD-07 | 4 | Others | 0:00 | 24:00 | 24:00 |  | ROW created by farmer.
2021-10-24 | Badnawar | BD-01 | 4 | Internal Grid | 8:18 | 9:12 | 0:54 |  | Feeder tripped in earth fault.
2021-10-24 | Badnawar | BD-02 | 4 | Internal Grid | 8:18 | 9:12 | 0:54 |  | Feeder tripped in earth fault.
2021-10-24 | Badnawar | BD-03 | 4 | Internal Grid | 8:18 | 9:12 | 0:54 |  | Feeder tripped in earth fault.
2021-10-24 | Badnawar | BD-04 | 4 | Internal Grid | 8:18 | 9:12 | 0:54 |  | Feeder tripped in earth fault.
2021-10-24 | Badnawar | BD-05 | 4 | Internal Grid | 8:18 | 9:12 | 0:54 |  | Feeder tripped in earth fault.
2021-10-24 | Badnawar | BD-06 | 4 | Internal Grid | 8:18 | 9:12 | 0:54 |  | Feeder tripped in earth fault.
2021-10-24 | Badnawar | BD-07 | 4 | Internal Grid | 8:18 | 9:12 | 0:54 |  | Feeder tripped in earth fault.
2021-10-24 | Badnawar | BD-08 | 4 | Internal Grid | 15:03 | 15:10 | 0:07 |  | Feeder tripped in over current.
2021-10-24 | Badnawar | GK43 | 10 | Preventive Maintenance | 15:58 | 18:39 | 2:41 |  | Preventive maintenance done. WTG restored.
2021-10-24 | Bhabaleshwar | GBR101 | 10 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | GBR102 | 10 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | GK42 | 10 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | GK43 | 10 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | GK44 | 10 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | GK45 | 10 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | GK46 | 9 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | GK47 | 9 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | GK48 | 9 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | GK51 | 9 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | GK60 | 9 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | GK65 | 9 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | GK72 | 9 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | GK77 | 9 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | GK94 | 10 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | NEW01N6 | 9 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | NL15 | 9 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | NL16 | 9 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | NL20 | 9 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | NL34 | 10 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | NL35 | 10 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | NL38 | 10 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | NL39 | 10 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | NL41 | 10 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | NL42 | 10 | External Grid | 20:27 | 20:31 | 0:04 |  | External grid breakdown from GSS side.
2021-10-24 | Bhabaleshwar | GK45 | 10 | Unschedule Maintenance | 3:49 | 3:53 | 0:04
2021-10-24 | Bhabaleshwar | GK44 | 10 | Unschedule Maintenance | 7:26 | 8:02 | 0:36